Instructions

µ–Slidey–shaped

Theibidiproductfamilyiscomprisedofavarietyofµ–Slidesandµ–Dishes,whichhaveallbeen

designedforhigh–endmicroscopicanalysisofﬁxedorlivingcells.     Thehighopticalqualityofthe

materialissimilartothatofglass,soyoucanperformallkindsofﬂuorescenceexperimentswith

uncompromisedresolutionandchoiceofwavelength.

The µ-Slide y-shaped can be easily connected to a pump via its Luer connectors. It enables you

togrowcellsunderﬂowconditionswithabifurcationof30and45degreedependingontheﬂow

directionyouchoose. Itismeantasasimulationsystemforbloodvesselswherethereactionofcellstoastimulusofyour

choicecanbeobservedinreal-time.

Material

pensabletotreattheuncoatedµ–Slidewithbiopolymers,

whichmediatecelladhesionandgrowth.

ibidiµ–Slides,µ–Dishes,andµ–Platesaremadeofaplas-

tic that has the highest optical quality. The bottom ma-

terial exhibits extremely low birefringence and autoﬂuo-

rescence, similar to that of glass. Also, it is not possible

todetachthebottomfromtheupperpart.     Theµ–Slides,

µ–Dishes, and µ–Plates are not autoclavable, since they

areonlytemperature–stableupto80°C/175°F.Pleasenote

that gas exchange between the medium and incubator’s

atmosphere occurs partially through the plastic bottom,

whichshouldnotbecovered.

Geometryoftheµ–Slidey–shaped

Theµ–Slidey–shapedprovidesastandardslideformatac-

cordingtoISO8037/1.

Dimensions

Channelvolume

Channelheight

110µl

0.4mm

OpticalPropertiesibidiStandardBottom

Branchingangles

Adapters

30°and45°

femaleLuer

RefractiveindexnD(589nm)

Abbenumber

1.52

56

Volumeperreservoir

Growtharea

60µl

2.8cm2

Thickness

No.1.5(180µm)

microscopyplastic

Material

Coatingareausing110µl

Bottommatchescoverslip

5.6cm2

No.1.5

Please note! The ibidi standard bottom is compatible

withcertaintypesofimmersionoilonly.    Alistofsuit-

ableoilscanbefoundonpage2.

Coatingyourµ-Slidey-shaped

Theuncoatedµ–Slidemustbecoatedtopromotecellad-

hesion.Ifyouwanttoestablishacertaincoatingtomatch

your needs, we recommend testing your coating proce-

dure on both uncoated and ibiTreat µ–Slides, since we

haveobservedthatsomebiomoleculesadheredifferently

tohydrophobicandhydrophilicplasticsurfaces.

µ–SlideSurfaces

Dependingonthetypeofcellsandthespecialapplication

youareusing,youwillneedµ–Slideswithdifferentsur-

faces.Ifyoudonotrequireanyspecialadhesionmolecules

foryourapplication,thebestchoicewillbeibiTreat,atis-

sueculturetreatedsurface.

• Prepareyourcoatingsolutionaccordingtotheman-

ufacturer’sspeciﬁcationsorreference.

Weprovideprecoatedµ–Slideswithadhesionsubstrates

likeCollagenIV,Fibronectin,Poly–L–Lysin,andPoly–D–

Lysin.Suchadhesionsubstrateshavebeenshowntostim-

ulatetheadhesionandgrowthofvariouscelllinesinµ–

Slides.Onlyhigh–qualitysubstratesareused1.

• Apply200µlofthecoatingsolutionintothechannel

oftheµ–Slideusinga1000µlpipette.

• Remove90µlcoatingsolutionfromthereservoirs.

• Leaveatroomtemperatureforatleast30minutes.

Theuncoatedµ–Slideismanufacturedfromhydrophobic

plastic. For the cultivation of most cell lines, it is indis-

• Aspirate the solution and wash with the recom-

mended protein dilution buffer. You can add the

1CollagenIV:Corning#356233,Fibronectin:Corning#354008,Poly–L–Lysin:Sigma#P4832,Poly–D–Lysin:Corning#354210

µ–Slidey–shaped

Page1

Version2014-05-13

Instructions

µ–Slidey–shaped

bufferintoonechannelendandsimultaneouslyas-

pirateitontheotherside.

PreparationforCellMicroscopy

To analyze your cells, no special preparations are neces-

sary.Cellscanbeobservedlive,orﬁxeddirectlyintheµ–

Slideonaninvertedmicroscope.  Youcanuseanyﬁxative

ofyourchoice.  Theµ–Slidematerialiscompatiblewitha

varietyofchemicals(e.g.,AcetoneorMethanol).    Further

speciﬁcationscanbefoundatDuetothe

thinbottomofonly180µm,highresolutionmicroscopyis

possible.

• Optionally,letdryatroomtemperature.   Attention,

somecoatingproteinsmightdegeneratewhendry-

ing!

Furtherinformationaboutcoatingsareprovidedin

SeedingCells

• Trypsinizeandcountcellsasusual.    Dilutethecell

suspensiontothedesiredconcentration.Depending

onyourcelltype,applicationofa3–7×105cells/ml

FlowApplication

suspensionshouldresultinaconﬂuentlayerwithin

2–3days.

Detailed information about ﬂow rates, shear stress, and

shear rates is provided in

and

• Apply200µlcellsuspensionintothechannelofthe

µ–Slideusinga1000µlpipette.

• Removethecellsuspensionfromthereservoirs.

SuitableTubeAdapterSetsarealsoavailable(seepage3).

They consist of a tubing (20 cm) with inner diameter of

1.6mmandadaptersfortheconnectionbetweentheibidi

µ–Slide(femaleLuer)andthetubingofthepumpinuse.

• Coverreservoirswiththesuppliedcaps.Incubateat

37°Cand5%CO2asusual.

• After cell attachment ﬁll each reservoir with 60 µl

mediumforlongercultivation.

• Theµ–Slideisnowreadyforapplyingﬂowcondi-

tions on the adherent cells. Don´t trap air bubbles

whenpluggingintheconnectingtubes.

Depending on the cells we recommend to exchange the

mediumeverydayinstaticculture:    Aspiratebothreser-

voirs. Flushfreshmediuminsidethechannelbyslowly

ﬁllingonereservoirwith400µlmediumandremovingthe

contentofthereservoirfromtheotherwell,ensuringthe

channelisneverdry.Leavebothreservoirsﬁlledwithap-

prox.60µleach.

Pleasecontactusforrecommendedperfusionsetups.ibidi

providesavarietyofchannelslidesandpumpsystems.

ImmersionOil

Tip:

The day before seeding the cells we recommend to

placethecellmediumandtheµ–Slideintotheincu-

bator for equilibration. This will prevent the liquid

insidethechannelfromemergingairbubblesoverthe

incubationtime.

When using oil immersion objectives, use only the im-

mersion oils speciﬁed in the table. The use of a non–

recommendedoilcouldleadtothedamageoftheplastic

materialandtheobjective.

Quick dispensing of cell suspension helps to avoid

trappedairbubblesandleadstomaximalhomogene-

ityofcelldistribution.

Forlongtermanalysisofcellsunderﬂowconditions

werecommendtouseµ–SlideswiththeibiTreatsur-

face.

Company

Product

OrderingNumber

ibidi

Zeiss

Zeiss

Leica

ImmersionOil

(ibidi)50101

Immersol518F

ImmersolW2010

Immersionliquid

(Zeiss)444960

(Zeiss)444969

(Leica)11513859

µ–Slidey–shaped

Page2

Version2014-05-13

Instructions

µ–Slidey–shaped

µ–Slidey-shapedFamily

Theµ–Slidey-shapedfamilyisavailablewithdifferentsurfaces.Seetablebelowforchoosingyourµ–Slidey–shaped.

OrderingNumber  TreatmentorCoating

Characteristics

80126

80122

80123

80124

80125

80121

ibiTreat,tissueculturetreated,sterile    hydrophilic,tissueculturetreated

CollagenIV,sterile

proteincoating

proteincoating

biopolymercoating

biopolymercoating

hydrophobic

Fibronectin,sterile∗

Poly-L-Lysine,sterile

Poly-D-Lysine,sterile∗

uncoated,sterile

∗availableonrequestonly

TubeAdapterSet

Fortheconnectionoftheibidiµ–SlidestoanyﬂowsystemsuitableTubeAdapterSetsarealsoavailable.Theyconsistofa

tubing(20cm)withinnerdiameterof1.6mmandadaptersfortheconnectionbetweentheibidiµ–Slide(femaleLuer)and

thetubingofthepumpinuse.

OrderingNumber  ProductName

TubeAdapterSet

Characteristics

12pcs,sterile

10831

µ–Slidey–shaped

Page3

Version2014-05-13

Instructions

µ–Slidey–shaped

SelectedReferences

N.Cockcroft,O.Oke,F.Cunningham,E.Bishop,I.M.Fearon,R.Zantl,andM.D.Gac¸a.        AnInVitroPerfusionSystemto

ExaminetheResponsesofEndothelialCellstoSimulatedFlowandInﬂammatoryStimulation.ATLA ,2009.

J.Samarin,I.Cicha,andM.Goppelt-Struebe.Celltype–speciﬁcregulationofCCN2proteinexpressionbyPI3K–AKT–FoxO

signaling.JournalofCellCommunicationandSignaling,2009.doi:10.1007/s12079-009-0055-5.

M.J.Seidler,S.Salvenmoser,andF.-M.C.Muller.     AspergillusfumigatusFormsBioﬁlmswithReducedAntifungalDrug

SusceptibilityonBronchialEpitheliaCells.Antimicrob.AgentsChemother.,2008.doi:10.1128/aac.00234-08.

K.Urschel,C.D.Garlichs,W.G.Daniel,andI.Cicha.VEGFR2signallingcontributestoincreasedendothelialsusceptibility

toTNF–αunderchronicnon–uniformshearstress.Atherosclerosis ,2011.

Forresearchuseonly!

FurthertechnicalspeciﬁcationscanbefoundatForquestionsandsuggestionspleasecontactusbye-mailinfo@ibidi.de

orbytelephone+49(0)89/52046170.AllproductsaredevelopedandproducedinGermany.

©ibidiGmbH,AmKlopferspitz19,82152Martinsried,Germany.

µ–Slidey–shaped

Page4

Version2014-05-13