Instructions

µ–Slide2WellGlassBottom

Theibidiproductfamilyiscomprisedofavarietyofµ–Slidesandµ–Dishes,whichhaveallbeen

designedforhigh–endmicroscopicanalysisofﬁxedorlivingcells.

The glass bottom versions of the µ–Slides and µ–Dishes are especially designed for TIRF and

singlemoleculeapplications.   Theµ–Slide2WellGlassBottomisanarrayof2squareﬁelds

wherecellscanbecultivatedand,subsequently,investigatedwithmicroscopicalmethods.      Itis

intendedfortheoptimizationofexperimentalparameterslikeantibodydilution,seedingdensity,

orthemosteffectivedrugconcentration.

Material

ShippingandStorage

The glass bottom version of the µ–Slides are made of a

standardµ–Slidebutwithaglasscoverslipbottom.     Itis

not possible to detach the bottom. The µ–Slides are not

autoclavablesincetheyaretemperaturestableonlyupto

80°C/175°F.

The µ–Slides, µ–Dishes and µ–Plates are sterilized and

weldedinagas-permeablepackaging.Theshelflifeunder

proper storage conditions (in a dry place, no direct sun-

light)islistedinthefollowingtable.

Conditions

OpticalPropertiesibidiGlassBottom

Shippingconditions

Storageconditions

Ambient

RefractiveindexnD

Abbenumber

Thickness

1.523

55

RT(15-25°C)

No.1.5H(selectedquality

170µm,±5µm)

ShelfLifeofDifferentSurfaces

Material

Schottborosilicateglass,

D263M

ibiTreat,GlassBottom,ESS

36months

18months

4months

Collagen,Poly-Lysine

Fibronectin

Geometry

Theµ–Slide2WellGlassBottomprovidesastandardslide

formataccordingtoISO8037/1.

Surfaceandcoating

Theµ–Slide2WellGlassBottomismanufacturedwithan

uncoatedglasscoverslip.  Washingsteps(e.g.  withPBS)

beforecellseedingcanremoveglassdustwhichisadvan-

tageousfordirectcellgrowthonthesurface.

Geometryofµ–Slide2WellGlassBottom

Numberofwells

2

Dimensionsofwells(w×l×h)inmm     21.2 × 23.3 ×

9.3

Protein coatings increase direct cell growth of adherent

cells.Speciﬁccoatingsonglassarepossiblefollowingthis

protocol:

Growthareaperwell

Coatingareaperwell

4.8cm2

7.5cm2

Recommendedﬁllingvolumeperwell   1.5ml

• Prepareyourcoatingsolutionaccordingtotheman-

ufacturer’sspeciﬁcationsorreference.  Prepareyour

µ–Slide.Adjusttheconcentrationtoacoatingareaof

7.5cm2and1.5ml.

Totalheightwithlid

10.8mm

No.1.5

Bottommatchescoverslip

• Apply1.5mlintothegrowtharea.    Makesurethat

theentirebottomiscoveredwithliquideasilytilting

orshakingtheµ–Slide.   Putonthelidandleaveat

roomtemperatureforatleast30minutes.

Attention!

Be cautious when handling µ–Slides and µ–Dishes

with glass bottom! The glass coverslip is very frag-

ileandmightbreakeasily.  Handlewithcaretoavoid

physicalinjuryanddamagetodevicesthroughleak-

ageofthemedium.

• Aspirate the solution and wash with the recom-

mendedproteindilutionbuffer.   Optionally, letdry

atroomtemperature.  Attention, somecoatingpro-

teinsmightdegeneratewhendrying!

µ–Slide2WellGlassBottom

Page1

Version2.0(2015-11-22)

Instructions

µ–Slide2WellGlassBottom

SolventsforFixationandStaining

ever, best results might be achieved when the medium

is changed every 1–2 days. Carefully aspirate the old

mediumandreplaceitby1.5ml/wellfreshmedium.

Cellscanbeobservedliveorﬁxeddirectlyintheµ–Slide

preferablyonaninvertedmicroscope.Theslidematerialis

compatibletoacids,alkalis,PFA,andsiliconeoil.Alcohols

maybeusedforshorttermincubation(e.g.    cellﬁxation).

Acetoneisnotcompatible.   Furtherspeciﬁcationscanbe

foundat

Tip:

As you may know from the 96 well plates, a bent

meniscus at the air–liquid interphase in small open

wellswilldestroythephasecontrasteffectofyourmi-

croscopeimage.UsethePh+versiontoovercomethis

disturbingeffect.

For optimal results in ﬂuorescence microscopy and stor-

ageofstainedprobesibidiprovidesamountingmedium

(50001)optimizedforµ–Dishesandµ–Slides.

SeedingCells

• Trypsinizeandcountcellsasusual.    Dilutethecell

suspensiontothedesiredconcentration.Depending

onyourcelltype,applicationofa5-11×104cells/ml

ImmersionOil

When using oil immersion objectives, use only the im-

mersion oils speciﬁed in the table. The use of a non–

recommendedoilcouldleadtothedamageoftheplastic

materialandtheobjective.

suspensionshouldresultinaconﬂuentlayerwithin

2–3days.

• Apply1.5mlcellsuspensionintoeachwelloftheµ–

Slide.Avoidshakingasthiswillresultininhomoge-

neousdistributionofthecells.

Company

Product

OrderingNumber

• Cover the slide with the supplied lid. Incubate at

37°Cand5%CO2asusual.

Zeiss

Zeiss

Leica

Immersol518F

ImmersolW2010

Immersionliquid

(Zeiss)444960

(Zeiss)444969

(Leica)11513859

Undemanding cells can be left in their seeding medium

foruptothreedaysandgrowtoconﬂuencethere.     How-

µ–Slide2WellGlassBottom

Page2

Version2.0(2015-11-22)

Instructions

µ–Slide2WellGlassBottom

OrderingInformation

Theµ–Slide2WellisavailableasopenwellandasaPh+version,aswellasinaglassbottomversion.          Seetablebelowfor

choosingyourµ–Slide2Well.

µ–Slide2Well

Cat.No.

Description

80886

80882

80883

80884

80885

80881

80887

µ–Slide2WellibiTreat:#1.5polymercoverslip,tissueculturetreated,sterilized

µ–Slide2WellCollagenIV:#1.5polymercoverslip,sterilized

µ–Slide2WellFibronectin:#1.5polymercoverslip,sterilized∗

µ–Slide2WellPoly-L-Lysine:#1.5polymercoverslip,sterilized

µ–Slide2WellPoly-D-Lysine:#1.5polymercoverslip,sterilized∗

µ–Slide2WellUncoated:#1.5polymercoverslip,hydrophobic,sterilized

µ–Slide2WellGlassBottom:1.5H(170µm±5µm)D263MSchottglass,sterilized

∗availableonrequestonly

µ–Slide2WellPh+

Cat.No.

Description

80296

80292

80293

80294

80295

80291

80297

µ–Slide2WellPh+ibiTreat:#1.5polymercoverslip,tissueculturetreated,sterilized

µ–Slide2WellPh+CollagenIV:#1.5polymercoverslip,sterilized

µ–Slide2WellPh+Fibronectin:#1.5polymercoverslip,sterilized∗

µ–Slide2WellPh+Poly-L-Lysine:#1.5polymercoverslip,sterilized

µ–Slide2WellPh+Poly-D-Lysine:#1.5polymercoverslip,sterilized∗

µ–Slide2WellPh+Uncoated:#1.5polymercoverslip,hydrophobic,sterilized

µ–Slide2WellPh+GlassBottom:1.5H(170µm±5µm)D263MSchottglass,sterilized

∗availableonrequestonly

µ–Slide2WellGlassBottom

Page3

Version2.0(2015-11-22)

Instructions

µ–Slide2WellGlassBottom

Forresearchuseonly!

FurthertechnicalspeciﬁcationscanbefoundatForquestionsandsuggestionspleasecontactusbye-mailinfo@ibidi.de

orbytelephone+49(0)89/52046170.AllproductsaredevelopedandproducedinGermany.

©ibidiGmbH,AmKlopferspitz19,82152Martinsried,Germany.

µ–Slide2WellGlassBottom

Page4

Version2.0(2015-11-22)