Instructions

µ–Slide4well Ph+glassbottom

Theibidiproductfamilyiscomprisedofavarietyofµ–Slidesandµ–Dishes,whichhave

allbeendesignedforhigh–endmicroscopicanalysisofﬁxedorlivingcells.

Theglassbottomversionsoftheµ–Slidesandµ–DishesareespeciallydesignedforTIRF

andsinglemoleculeapplications.

Theµ–Slide4wellPh+(Phasecontrastplus)isanarrayof4squareﬁeldswherecellscanbe

cultivatedandinvestigatedwithmicroscopicalmethods.Theµ–Slide4wellPh+improves

theopticalqualityofphasecontrastmicroscopy.    Incontrasttotheclassicµ–Slide4well,

thePh+versionprovidesaspecialplateinthecenterofthewells.      Thisplatesuppresses

themeniscuswhichisdisturbingthephasecontrasteffectinnormalopenwells.Openingsnearthecornersprovideaccess

tothewellsforﬁllingandaspiratingliquidseasily.

Material

Geometry

The glass bottom version of the µ–Slides are made of a

standardµ–Slidebutwithaglasscoverslipbottom.     Itis

not possible to detach the bottom. The µ–Slides are not

autoclavablesincetheyaretemperaturestableonlyupto

80°C/175°F.

The µ–Slide 4well Ph+glass bottom provides a standard

slideformataccordingtoISO8037/1.

Geometryofµ–Slide4wellPh+glassbottom

Numberofwells

4

OpticalPropertiesibidiglassbottom

Dimensionsofwells(w×l×h)inmm     21.2 × 11.0 ×

3.0

RefractiveindexnD

Abbenumber

1.523

55

Growthareaperwell

Coatingareaperwell

Volumeperwell

2.2cm2

5.9cm2

Thickness

No.1.5H(selectedquality

170µm,±5µm)

700µl

Material

Schottborosilicateglass,

D263M

Liquidheight

3.0mm

10.8mm

No.1.5

Totalheightwithlid

Bottommatchescoverslip

Surfaceandcoating

Theµ–Slide4well  Ph+glassbottomismanufacturedwith

anuncoatedglasscoverslip.Washingsteps(e.g.withPBS)

beforecellseedingcanremoveglassdustwhichisadvan-

tageousfordirectcellgrowthonthesurface.

Seedingcells

• Trypsinizeandcountcellsasusual.    Dilutethecell

suspensiontothedesiredconcentration.Depending

onyourcelltype,applicationofa5-11×10    cells/ml

suspensionshouldresultinaconﬂuentlayerwithin

2–3days.

Protein coatings increase direct cell growth of adherent

cells.Speciﬁccoatingsonglassarepossiblefollowingthis

protocol:

4

• Prepareyourcoatingsolutionaccordingtotheman-

ufacturer’sspeciﬁcationsorreference.  Prepareyour

µ–Slide.Adjusttheconcentrationtoacoatingareaof

5.9cm2and700µl.

• Apply700µlcellsuspensionintoeachwelloftheµ–

Slide.Avoidshakingasthiswillresultininhomoge-

neousdistributionofthecells.

• Apply700µlintothegrowtharea.    Makesurethat

theentirebottomiscoveredwithliquideasilytilting

orshakingtheµ–Slide.   Putonthelidandleaveat

roomtemperatureforatleast30minutes.

• Cover the slide with the supplied lid. Incubate at

37°Cand5%CO2asusual.

Undemanding cells can be left in their seeding medium

foruptothreedaysandgrowtoconﬂuencethere.     How-

ever, best results might be achieved when the medium

is changed every 1–2 days. Carefully aspirate the old

medium and replace it by 700µl/well fresh medium.

• Aspirate the solution and wash with the recom-

mendedproteindilutionbuffer.   Optionally, letdry

atroomtemperature.  Attention, somecoatingpro-

teinsmightdegeneratewhendrying!

µ–Slide4wellPh+glassbottom

Page1

Version2014-05-14

Instructions

µ–Slide4well Ph+glassbottom

µ–Slide4well Ph+selectionguide

Tip:

µ–Slide4well

µ–Slide4wellPh+

Thedaybeforeseedingthecellswerecommendplac-

ingthecellmediumandtheµ–Slideintotheincubator

forequilibration. Thiswillpreventtheliquidinside

fromemergingairbubblesovertheincubationtime.

Standard open wells for maxi-  Specialplateinthecenterofthe

mum sample access.

Meniscus

wells suppresses meniscus for-

mation. Nomeniscus–parallel

disturbs the beam path.

Good

phasecontrastqualityonlyinthe    beampath.  Forexcellentphase

centerofeachwell

contrastmicroscopyalloverthe

wells.

SolventsforFixationandStaining

Cellscanbeobservedliveorﬁxeddirectlyintheµ–Slide

preferablyonaninvertedmicroscope.Theslidematerialis

compatibletoacids,alkalis,PFA,andsiliconeoil.Alcohols

maybeusedforshorttermincubation(e.g.    cellﬁxation).

Acetoneisnotcompatible.   Furtherspeciﬁcationscanbe

foundat

For optimal results in ﬂuorescence microscopy and stor-

ageofstainedprobesibidiprovidesamountingmedium

(50001)optimizedforµ–Dishesandµ–Slides.

FillingandHandling

Fill the wells by using a standard pipet. Inject the cell

suspensiondirectlyintooneoftheopenings.Mediumex-

changeiseasilydonebyaspiratingtheentirevolumeand

reﬁllingusing700µlperwell.

ImmersionOil

When using oil immersion objectives, use only the im-

mersion oils speciﬁed in the table. The use of a non–

recommendedoilcouldleadtothedamageoftheplastic

materialandtheobjective.

Company

Product

OrderingNumber

ibidi

Zeiss

Zeiss

Leica

ImmersionOil

(ibidi)50101

Immersol518F

ImmersolW2010

Immersionliquid

(Zeiss)444960

(Zeiss)444969

(Leica)11513859

µ–Slide4wellPh+glassbottom

Page2

Version2014-05-14

Instructions

µ–Slide4well Ph+glassbottom

µ–Slide4wellFamily

Theµ–Slide4wellfamilyisavailableasopenwellandasaPh+version.Seetablebelowforchoosingyourµ–Slide4well.

µ–Slide4well

OrderingNumber   TreatmentorCoating

Characteristics

80426

80422

80423

80424

80425

80421

80427

ibiTreat,sterile

hydrophilic,tissueculturetreated

proteincoating

CollagenIV,sterile

Fibronectin,sterile∗

Poly-L-Lysine,sterile

proteincoating

biopolymercoating

Poly-D-Lysine,sterile∗

uncoated,sterile

glassbottom

biopolymercoating

hydrophobic

glasscoverslipNo.1.5H(170µm±5µm)

µ–Slide4wellPh+

OrderingNumber   TreatmentorCoating

Characteristics

80446

80442

80443

80444

80445

80441

80447

ibiTreat,sterile

hydrophilic,tissueculturetreated

proteincoating

CollagenIV,sterile

Fibronectin,sterile∗

Poly-L-Lysine,sterile

proteincoating

biopolymercoating

Poly-D-Lysine,sterile∗

uncoated,sterile

glassbottom

biopolymercoating

hydrophobic

glasscoverslipNo.1.5H(170µm±5µm)

∗availableonrequestonly

µ–Slide4wellPh+glassbottom

Page3

Version2014-05-14

Instructions

µ–Slide4well Ph+glassbottom

Forresearchuseonly!

FurthertechnicalspeciﬁcationscanbefoundatForquestionsandsuggestionspleasecontactusbye-mailinfo@ibidi.de

orbytelephone+49(0)89/52046170.AllproductsaredevelopedandproducedinGermany.

©ibidiGmbH,AmKlopferspitz19,82152Martinsried,Germany.

µ–Slide4wellPh+glassbottom

Page4

Version2014-05-14