Instructions

µ–Slide4well

Theibidiproductfamilyiscomprisedofavarietyofµ–Slidesandµ–Dishes,whichhaveallbeen

designedforhigh–endmicroscopicanalysisofﬁxedorlivingcells.      Thehighopticalqualityof

thematerialissimilartothatofglass,soyoucanperformallkindsofﬂuorescenceexperiments

withuncompromisedresolutionandchoiceofwavelength.    Theµ–Slide4wellisanarrayof4

squareﬁeldswherecellscanbecultivatedand,     subsequently, investigatedwithmicroscopical

methods. Itisintendedfortheoptimizationofexperimentalparameterslikeantibodydilution,

seedingdensity,orthemosteffectivedrugconcentration.

Material

µ–SlideSurfaces

ibidiµ–Slides,µ–Dishes,andµ–Platesaremadeofaplas-

tic that has the highest optical quality. The bottom ma-

terial exhibits extremely low birefringence and autoﬂuo-

rescence, similar to that of glass. Also, it is not possible

todetachthebottomfromtheupperpart.     Theµ–Slides,

µ–Dishes, and µ–Plates are not autoclavable, since they

areonlytemperature–stableupto80°C/175°F.Pleasenote

that gas exchange between the medium and incubator’s

atmosphere occurs partially through the plastic bottom,

whichshouldnotbecovered.

Dependingonthetypeofcellsandthespecialapplication

youareusing,youwillneedµ–Slideswithdifferentsur-

faces.Ifyoudonotrequireanyspecialadhesionmolecules

foryourapplication,thebestchoicewillbeibiTreat,atis-

sueculturetreatedsurface.

Weprovideprecoatedµ–Slideswithadhesionsubstrates

likeCollagenIV,Fibronectin,Poly–L–Lysin,andPoly–D–

Lysin.Suchadhesionsubstrateshavebeenshowntostim-

ulatetheadhesionandgrowthofvariouscelllinesinµ–

Slides.Onlyhigh–qualitysubstratesareused1.

OpticalPropertiesibidiStandardBottom

Theuncoatedµ–Slideismanufacturedfromhydrophobic

plastic. For the cultivation of most cell lines, it is indis-

pensabletotreattheuncoatedµ–Slidewithbiopolymers,

whichmediatecelladhesionandgrowth.

RefractiveindexnD(589nm)

Abbenumber

1.52

56

Thickness

No.1.5(180µm)

microscopyplastic

Material

Please note! The ibidi standard bottom is compatible

withcertaintypesofimmersionoilonly.    Alistofsuit-

ableoilscanbefoundonpage2.

Coatingyourµ–Slide4well

Theuncoatedµ–Slidemustbecoatedtopromotecellad-

hesion.Ifyouwanttoestablishacertaincoatingtomatch

your needs, we recommend testing your coating proce-

dure on both uncoated and ibiTreat µ–Slides, since we

haveobservedthatsomebiomoleculesadheredifferently

tohydrophobicandhydrophilicplasticsurfaces.

Geometry

The µ–Slide 4 well provides a standard slide format ac-

cordingtoISO8037/1.

• Prepareyourcoatingsolutionaccordingtotheman-

ufacturer’sspeciﬁcationsorreference.

Geometryofµ–Slide4well

• Apply700µlperwellandleaveatroomtemperature

foratleast30minutes.

Numberofwells

4

Dimensionsofwells(w×l×h)inmm     21.2 × 11.0 ×

9.3

• Aspirate the solution and wash with the recom-

mendedproteindilutionbuffer.

Growthareaperwell

Coatingareaperwell

2.2cm2

4.1cm2

• Optionallyletdryatroomtemperature.    Attention,

somecoatingproteinsmightdegeneratewhendry-

ing!

Recommendedﬁllingvolumeperwell   700µl

Totalheightwithlid

10.8mm

No.1.5

Bottommatchescoverslip

1CollagenIV:Corning#356233,Fibronectin:Corning#354008,Poly–L–Lysin:Sigma#P4832,Poly–D–Lysin:Corning#354210

µ–Slide4well

Page1

Version2014-05-14

Instructions

µ–Slide4well

Seedingcells

PreparationforCellMicroscopy

• Trypsinizeandcountcellsasusual.    Dilutethecell

suspensiontothedesiredconcentration.Depending

onyourcelltype,applicationofa5-11×104cells/ml

suspensionshouldresultinaconﬂuentlayerwithin

2–3days.

To analyze your cells, no special preparations are neces-

sary.Cellscanbeobservedlive,orﬁxeddirectlyintheµ–

Slideonaninvertedmicroscope.  Youcanuseanyﬁxative

ofyourchoice.  Theµ–Slidematerialiscompatiblewitha

varietyofchemicals(e.g.,AcetoneorMethanol).    Further

speciﬁcationscanbefoundatDuetothe

thinbottomofonly180µm,highresolutionmicroscopyis

possible.

• Apply700µlcellsuspensionintoeachwelloftheµ–

Slide.Avoidshakingasthiswillresultininhomoge-

neousdistributionofthecells.

• Cover the slide with the supplied lid. Incubate at

37°Cand5%CO2asusual.

Undemanding cells can be left in their seeding medium

foruptothreedaysandgrowtoconﬂuencethere.     How-

ever, best results might be achieved when the medium

is changed every 1–2 days. Carefully aspirate the old

medium and replace it by 700µl/well fresh medium.

ImmersionOil

When using oil immersion objectives, use only the im-

mersion oils speciﬁed in the table. The use of a non–

recommendedoilcouldleadtothedamageoftheplastic

materialandtheobjective.

Tip:

Company

Product

OrderingNumber

As you may know from the 96 well plates, a bent

meniscus at the air–liquid interphase in small open

wellswilldestroythephasecontrasteffectofyourmi-

croscopeimage.UsethePh+versiontoovercomethis

disturbingeffect.

ibidi

Zeiss

Zeiss

Leica

ImmersionOil

(ibidi)50101

Immersol518F

ImmersolW2010

Immersionliquid

(Zeiss)444960

(Zeiss)444969

(Leica)11513859

µ–Slide4well

Page2

Version2014-05-14

Instructions

µ–Slide4well

µ–Slide4wellFamily

Theµ–Slide4wellfamilyisavailableasopenwellandasaPh+version.Seetablebelowforchoosingyourµ–Slide4well.

µ–Slide4well

OrderingNumber   TreatmentorCoating

Characteristics

80426

80422

80423

80424

80425

80421

80427

ibiTreat,sterile

hydrophilic,tissueculturetreated

proteincoating

CollagenIV,sterile

Fibronectin,sterile∗

Poly-L-Lysine,sterile

proteincoating

biopolymercoating

Poly-D-Lysine,sterile∗

uncoated,sterile

glassbottom

biopolymercoating

hydrophobic

glasscoverslipNo.1.5H(170µm±5µm)

µ–Slide4wellPh+

OrderingNumber   TreatmentorCoating

Characteristics

80446

80442

80443

80444

80445

80441

80447

ibiTreat,sterile

hydrophilic,tissueculturetreated

proteincoating

CollagenIV,sterile

Fibronectin,sterile∗

Poly-L-Lysine,sterile

proteincoating

biopolymercoating

Poly-D-Lysine,sterile∗

uncoated,sterile

glassbottom

biopolymercoating

hydrophobic

glasscoverslipNo.1.5H(170µm±5µm)

∗availableonrequestonly

µ–Slide4well

Page3

Version2014-05-14

Instructions

µ–Slide4well

Forresearchuseonly!

FurthertechnicalspeciﬁcationscanbefoundatForquestionsandsuggestionspleasecontactusbye-mailinfo@ibidi.de

orbytelephone+49(0)89/52046170.AllproductsaredevelopedandproducedinGermany.

©ibidiGmbH,AmKlopferspitz19,82152Martinsried,Germany.

µ–Slide4well

Page4

Version2014-05-14