Instructions

µ–Plate384Well

Theibidiproductfamilyiscomprisedofavarietyofµ–Slidesandµ–Dishes,whichhaveallbeen

designedforhigh–endmicroscopicanalysisofﬁxedorlivingcells.     Thehighopticalqualityof

thematerialissimilartothatofglass,soyoucanperformallkindsofﬂuorescenceexperiments

withuncompromisedresolutionandchoiceofwavelength.

Theµ–Plate384Wellallowsyoutoperformhighresolutionmicroscopyinastandardmulti–well

format.Forlesswell–to–wellcrosstalkinﬂuorescencemicroscopythisimagingplateismadeout

ofablackplasticmaterial.

Material

Geometryoftheµ–Plate384Well

ibidiµ–Slides,µ–Dishes,andµ–Platesaremadeofaplas-

ticthathasthehighestopticalquality.    Thepolymercov-

ersliponthebottomexhibitsextremelylowbirefringence

and autoﬂuorescence, similar to that of glass. Also, it is

not possible to detach the bottom from the upper part.

Theµ–Slides,µ–Dishes,andµ–Platesarenotautoclavable,

sincetheyareonlytemperature–stableupto80°C/175°F.

Please note that gas exchange between the medium and

incubator’satmosphereoccurspartiallythroughthepoly-

mercoverslip,whichshouldnotbecovered.

The µ–Plate 384Well provides standard geometry and

numbering(A-P,1-24).Thebottomoftheµ–Plate384Well

providesahighaccuracy.

OpticalPropertiesibidiPolymerCoverslip

RefractiveindexnD(589nm)

Abbenumber

1.52

56

Thickness

No.1.5(180µm)

polymercoverslip

Material

Pleasenote! Theibidipolymercoverslipiscompatible

withcertaintypesofimmersionoilonly.    Alistofsuit-

ableoilscanbefoundonpage3.

The µ–Plate 384Well meets all important values of the

ANSI/SBSStandards(1-2004,2-2004,3-2004and4-2004).

ShippingandStorage

Dimensionsoftheµ–Plate384Wellinmm

The µ–Slides, µ–Dishes and µ–Plates are sterilized and

weldedinagas-permeablepackaging.Theshelflifeunder

proper storage conditions (in a dry place, no direct sun-

light)islistedinthefollowingtable.

Length

127.76

85.47

17.2

±0.2

±0.2

±0.4

±0.4

±0.1

±0.1

Width

Heightwithlid

Heightwithoutlid

Welltowelldistance

Wellclearance

15.0

Conditions

4.50

Shippingconditions

Storageconditions

Ambient

0.82

RT(15-25°C)

ShelfLifeofDifferentSurfaces

ibiTreat,GlassBottom,ESS

36months

18months

Collagen,Poly-L-Lysine

µ–Plate384Well

Page1

Version2.0(2015-12-11)

Instructions

µ–Plate384Well

SeedingCells

SingleWellParametersoftheµ–Plate384Well

Singlewelldimensions

Singlewelldepth

Volume

3.45×3.45±0.1mm

11.48±0.2mm

• Trypsinizeandcountcellsasusual.    Dilutethecell

suspensiontothedesiredconcentration.Depending

onyourcelltype,applicationofa1.5-4×10    cells/ml

suspensionshouldresultinaconﬂuentlayerwithin

2–3days.

50µl

0.11cm2

0.80cm2

4

Growtharea

Coatingareausing50µl

• Apply 50µl cell suspension into each single well.

Avoidshakingasthiswillresultininhomogeneous

distributionofthecells.

Accuracyoftheµ–Plate384WellBottom

Innerwellﬂatness

±5µm

±25µm

No.1.5

Wholeplateﬂatness

Bottommatchescoverslip

• Covertheµ–Plate384Wellwiththesuppliedlid.In-

cubateat37°Cand5%CO2asusual.

Surface

Tip:

Werecommendnottoﬁllmorethan50µlintotheµ–

Plate384Wellinordertoavoidliquidcontactingthe

lid.

The µ–Plate 384Well is available with ibiTreat and un-

coatedsurface.TheibiTreatsurfaceisaphysicaltreatment

andoptimizedforadhesionofmostcelltypes.    Manycell

linesaswellasprimarycellsweretested.

Undemandingcellscanbeleftintheirseedingmediumfor

severaldaysandgrowtoconﬂuencethere.However,best

results might be achieved when the medium is changed

every 2–3 days. Carefully aspirate the old medium and

replaceitby50µlfreshmedium.

Aspeciﬁccoatingoftheµ–Plate384Wellcanbedoneyour-

self following the procedure in section Coating your µ–

Plate384Well.

Coatingyourµ–Plate384Well

Theuncoatedµ–Plate384Wellmustbecoatedtopromote

celladhesion. Ifyouliketoestablishacertaincoatingfor

yourdemandswerecommendtestingyourcoatingproce-

dureonuncoatedandibiTreatµ–Plate384Well,sincewe

haveobservedthatsomebiomoleculesadheredifferently

tohydrophobicorhydrophilicplasticsurfaces.

Tip:

Youcanstacktheµ–Platestosavespaceinyouincu-

bator.Thiswillnotaffectcellgrowth.Werecommend

making batches with up to 6 plates, due to stability

reasons.

• Prepare your coating solution according to  the

manufacturer’sspeciﬁcationsorreference.

• Apply50µlineachwell.Thecoatingareausing50µl

is0.8cm2.

PreparationforCellMicroscopy

• Followyourcoatingprotocol.

Furtherinformationaboutcoatingsareprovidedin

Foranalyzingyourcellsnospecialpreparationsarenec-

essary.  Cells can be observed live or ﬁxed directly in

the µ–Plate preferably on an inverted microscope. You

can use any ﬁxative of your choice. The µ–Plate mate-

rial is compatible with a variety of chemicals, e.g. Ace-

toneorMethanol.  Furtherspeciﬁcationscanbefoundat

Duetothethinbottomofonly180µm,

highresolutionmicroscopyispossible.

RemovetheProtectionFilmbeforeUsage

Thebottomoftheµ–Plate384Welliscoveredwithaﬁlm

toprotecttheopticalqualityoftheplasticsurface.     Please

pullofftheprotectionﬁlmbeforeusage!

µ–Plate384Well

Page2

Version2.0(2015-12-11)

Instructions

µ–Plate384Well

ImmersionOil

Company

Product

OrderingNumber

Zeiss

Zeiss

Leica

Immersol518F

ImmersolW2010

Immersionliquid

(Zeiss)444960

(Zeiss)444969

(Leica)11513859

When using oil immersion objectives, use only the im-

mersion oils speciﬁed in the table. The use of a non–

recommendedoilcouldleadtothedamageoftheplastic

materialandtheobjective.

µ–Plate384Well

Page3

Version2.0(2015-12-11)

Instructions

µ–Plate384Well

OrderingInformation

Theibidiµ–Platesareavailablewiththefollowingsurfaces.

µ–Plate24Well

Cat.No.

Description

82406

82401

µ–Plate24WellibiTreat:#1.5polymercoverslip,tissueculturetreated,sterilized

µ–Plate24WellUncoated:#1.5polymercoverslip,hydrophobic,sterilized

µ–Plate96Well

Cat.No.

Description

89626

89621

µ–Plate96WellibiTreat:#1.5polymercoverslip,tissueculturetreated,sterilized

µ–Plate96WellUncoated:#1.5polymercoverslip,hydrophobic,sterilized

µ–Plate384Well

Cat.No.

Description

88401

µ–Plate384WellUncoated:#1.5polymercoverslip,hydrophobic,sterilized

Forresearchuseonly!

FurthertechnicalspeciﬁcationscanbefoundatForquestionsandsuggestionspleasecontactusbye-mailinfo@ibidi.de

orbytelephone+49(0)89/52046170.AllproductsaredevelopedandproducedinGermany.

©ibidiGmbH,AmKlopferspitz19,82152Martinsried,Germany.

µ–Plate384Well

Page4

Version2.0(2015-12-11)