Instructions

µ–Dish 35mm,high

Theibidiproductfamilyiscomprisedofavarietyofµ–Slidesandµ–Dishes,whichhaveallbeen

designedforhigh–endmicroscopicanalysisofﬁxedorlivingcells.Thehighopticalqualityofthe

materialissimilartothatofglass,soyoucanperformallkindsofﬂuorescenceexperimentswith

uncompromisedresolutionandchoiceofwavelength.

Theµ–Dish 35mm,high allowsyoutoperformhighresolutionmicroscopyina35mmPetri–dish

with12mmwalls.  Thestandardheightallowsconvenientliquidhandling.    Thelidcanbeclosed

tohinderevaporationduringlongtermexperiments.

Material

ShippingandStorage

The µ–Slides, µ–Dishes and µ–Plates are sterilized and

ibidiµ–Slides,µ–Dishes,andµ–Platesaremadeofaplas-

tic that has the highest optical quality. The bottom ma-

terial exhibits extremely low birefringence and autoﬂuo-

rescence, similar to that of glass. Also, it is not possible

todetachthebottomfromtheupperpart.     Theµ–Slides,

µ–Dishes, and µ–Plates are not autoclavable, since they

areonlytemperature–stableupto80°C/175°F.Pleasenote

that gas exchange between the medium and incubator’s

atmosphere occurs partially through the polymer cover-

slip,whichshouldnotbecovered.

weldedinagas-permeablepackaging.Theshelflifeunder

proper storage conditions (in a dry place, no direct sun-

light)islistedinthefollowingtable.

Conditions

Shippingconditions

Storageconditions

Ambient

RT(15-25°C)

ShelfLifeofDifferentSurfaces

OpticalPropertiesibidiStandardBottom

ibiTreat,GlassBottom,ESS

36months

18months

4months

Collagen,Poly-Lysine

Fibronectin

RefractiveindexnD(589nm)

Abbenumber

1.52

56

Thickness

No.1.5(180µm)

Material

microscopyplastic/

polymercoverslip

SurfaceandCoating

The µ–Dish 35mm,high is available with ibiTreat and un-

Please note! The ibidi Standard Bottom is compatible

withcertaintypesofimmersionoilonly.    Alistofsuit-

ableoilscanbefoundonpage3.

coated surface. The ibiTreat surface is a physical treat-

mentandoptimizedforadhesionofmostcelltypes.Many

celllinesaswellasprimarycellsweretestedforgoodcell

growth. Theuncoatedsurfaceisaveryhydrophobicsur-

faceandallowsnodirectcellgrowth.Itissuitableforspe-

ciﬁccoatingsorsuspensioncells.

If you like to establish a particular coating for your de-

mandswerecommendtotestyourcoatingprocedureon

uncoatedandibiTreatµ–Dishes,sincesomebiomolecules

adhere differently to hydrophobic or hydrophilic plastic

surfaces.

Geometry

Geometryoftheµ–Dish35mm,high

Diameterdish

35mm

• Prepareyourcoatingsolutionaccordingtotheman-

ufacturer’sspeciﬁcationsorreference.  Prepareyour

µ–Dish,ibiTreatoruncoated.  Adjusttheconcentra-

tiontoacoatingareaof4.2cm2and400µl.

Volume

2000µl

3.5cm2

Growtharea

Diametergrowtharea

Coatingareausing400µl

Heightwith/withoutlid

Bottommatchescoverslip

21mm

4.2cm2

• Apply400µlintothegrowtharea.    Makesurethat

theentirebottomiscoveredwithliquideasilytilting

orshakingtheµ–Dish.   Putonthelidandleaveat

roomtemperatureforatleast30minutes.

14mm/12mm

No.1.5

µ–Dish35mm,high

Page1

Version2015-05-12

Instructions

µ–Dish 35mm,high

• Aspiratethesolutionandwash.   Optionally,letdry

atroomtemperature.

• Trypsinizeandcountcellsasusual.    Dilutethecell

suspensiontothedesiredconcentration.

DetailedinformationaboutcoatingsisprovidedinAppli-

cationNote08

• Apply400µlcellsuspensionintotheinnerwellof

theµ–Dish.Avoidshakingasthiswillresultininho-

mogeneousdistributionofthecells.

Theµ–Dish 35mm,high isalsoavailablewithanelastically

supportedsurface(ESS)andaglassbottomsurface.Please

refertotheinstructionsfordetailedinformation.

• Aftercellattachmentaddadditionally1.6mlofpure

mediumtoensureoptimalgrowconditions.

ProtectionFilm

• Covertheµ–Dishwiththesuppliedlid.   Incubateat

37°Cand5%CO2asusual.

Removetheprotectionﬁlmbeforeusage!

Werecommendnottoﬁllmorethantheindicatedtotal

volumeintotheµ–Dish   35mm,high inordertoavoidthe

liquidcontactingthelid.

Thebottomoftheµ–Dishiscov-

ered with a ﬁlm to protect the

opticalqualityoftheplasticsur-

face. Pleasepullofftheprotec-

tionﬁlmbeforeusage!

Undemandingcellscanbeleftintheirseedingmediumfor

severaldaysandgrowtoconﬂuencethere.However,best

resultsareachievedwhenthemediumischangedevery

2–3days. Carefullyaspiratetheoldmediumandreplace

itbyupto2mlfreshmedium.

Theprotectionﬁlmofallµ–Dishesiscolor-coded:

Color

Surface

Variation

Tip:

Blue

ibiTreat

plain

Youcanstacktheµ–Dishestosavespaceinyourincu-

bator.Thiswillnotaffectcellgrowth.Werecommend

making batches with up to 6 µ–Dishes, due to sta-

bilityreasons. Placingtheµ–DishesintolargerPetri

dishessimpliﬁestransportandpreventsevaporation,

heat loss, and contamination when the incubator is

opened.

Red

ibiTreat

withGrid–500

withCulture-Insert

plain

Yellow

White

Black

Green

ibiTreat

uncoated

uncoated

uncoated

withGrid–500

withCulture–Insert

UsingTheLid

PreparationforCellMicroscopy

Toanalyzeyourcellsnospecialpreparationsarenecessary.

Cellscanbeobservedliveorﬁxeddirectlyintheµ–Dish

preferably on an inverted microscope. You can use any

ﬁxativeofyourchoice.Theµ–Dishmaterialiscompatible

withavarietyofchemicals,e.g.AcetoneorMethanol.Fur-

therspeciﬁcationscanbefoundatDueto

thethinbottomhighresolutionmicroscopyispossible.

1. openposition,easyopening

2. closeposition,forlongtermstudies,minimalevap-

oration

SeedingCells

For optimal results in ﬂuorescence microscopy and stor-

ageofstainedprobes,ibidiprovidesamountingmedium

optimized for µ–Dishes and µ–Slides (ibidi Mounting

Medium,50001).

Depending on your cell type, application of a 4–9 ×

104cells/mlsuspensionshouldresultinaconﬂuentlayer

within2–3days.

µ–Dish35mm,high

Page2

Version2015-05-12

Instructions

µ–Dish 35mm,high

µ–Dish 35mmSelectionGuide

MinimizingEvaporation

Usingtheµ–Dishwithaclosedlid,theevaporationinan

incubatorsystemwith37°Cand95%humidityisaround

1%perday.  Usingtheµ–Dishwithaclosedlidina37°C

heating system with low humidity (between 20% and

40%),theevaporationisaround10%perday.     Forreduc-

ingtheevaporationdownto1%perdayinallsystems,we

recommend sealing the lid with ibidi Anti–Evaporation

Oil(50051).

µ–Dish35mm,low

µ–Dish35mm,high

Low walls (7 mm) for  large  Highwalls(12mm)forallstan-

access to the cells.

Designed

dardapplications.

for micromanipulation and mi- Also available with glass bot-

croinjection.

tom,relocationgrid,andelastic

surface(ESS).

ImmersionOil

When using oil immersion objectives, use only the im-

mersion oils speciﬁed in the table. The use of a non–

recommendedoilcouldleadtothedamageoftheplastic

materialandtheobjective.

Company

Product

OrderingNumber

Zeiss

Zeiss

Leica

Immersol518F

ImmersolW2010

Immersionliquid

(Zeiss)444960

(Zeiss)444969

(Leica)11513859

SelectedReferences

T.Kahles,P.Luedike,M.Endres,H.-J.Galla,H.Steinmetz,R.Busse,T.Neumann-Haefelin,andR.P.Brandes.          NADPH

OxidasePlaysaCentralRoleinBlood–BrainBarrierDamageinExperimentalStroke.     Stroke,2007. doi:10.1161/strokeaha.

107.489765.

J. Renaud, G. Kerjan, I. Sumita, Y. Zagar, V. Georget, D. Kim, C. Fouquet, K. Suda, M. Sanbo, F. Suto, S. L. Ackerman,

K.J.Mitchell,H.Fujisawa,andA.Chedotal.    Plexin–A2anditsligand,Sema6A,controlnucleus–centrosomecouplingin

migratinggranulecells.NatureNeuroscience,2008.doi:10.1038/nn2064.

M.Sto¨lting,C.Wiesner,V.vanVliet,E.Butt,H.Pavenst¨adt,S.Linder,andJ.Kremerskothen.       Lasp–1RegulatesPodosome

Function.PLoSONE,2012.doi:10.1371/journal.pone.0035340.

C.Westendorf,A.Schmidt,I.Coin,J.Furkert,I.Ridelis,D.Zampatis,C.Rutz,B.Wiesner,W.Rosenthal,M.Beyermann,

andR.Schulein.  InhibitionofBiosynthesisofHumanEndothelinBReceptorbytheCyclodepsipeptideCotransin.      J.Biol.

Chem,2011.doi:10.1074/jbc.M111.239244.

Y. Yang, J. Aw, K. Chen, F. Liu, P. Padmanabhan, Y. Hou, Z. Cheng, and B. Xing. Enzyme Responsive Multifunctional

MagneticNanoparticlesforTumorIntracellularDrugDeliveryandImaging.     Chemistry–AnAsianJournal,2011.   doi: 10.

1002/asia.201000905.

Forresearchuseonly!

FurthertechnicalspeciﬁcationscanbefoundatForquestionsandsuggestionspleasecontactusbye-mailinfo@ibidi.de

orbytelephone+49(0)89/52046170.AllproductsaredevelopedandproducedinGermany.

©ibidiGmbH,AmKlopferspitz19,82152Martinsried,Germany.

µ–Dish35mm,high

Page3

Version2015-05-12

Instructions

µ–Dish 35mm,high

µ–Dish 35mm,high

Family

µ–Dish35mm,high

Cat.No.

Description

Characteristics

81156

81151

µ–Dish35mm,highibiTreat:35mm,highwall(2mlvolume),#1.5poly-       hydrophilic,sterilized

µ–Dish 35mm,high Uncoated:  35mm, high wall (2ml volume), #1.5  hydrophobic,sterilized

polymercoverslip

mercoverslip,tissueculturetreated

µ–Dish35mm,highGrid–500

Cat.No.

Description

Characteristics

81166

µ–Dish 35mm,high ibiTreat Grid-500:  35mm, high wall (2ml vol-  hydrophilic,sterilized

ume),#1.5polymercoverslip,tissueculturetreated,gridrepeatdistance

500µm

81161

µ–Dish 35mm,high Uncoated Grid-500:  35mm, high wall (2ml vol-  hydrophobic,sterilized

ume),#1.5polymercoverslip,gridrepeatdistance500µm

Culture–Insertinµ–Dish35mm,high

Cat.No.

Description

Characteristics

81176

Culture–Insertinµ–Dish  35mm,high ibiTreat: readytouse,  tissuecul-  hydrophilic,sterilized

turetreated

micro–Insert4Wellinµ–Dish35mm,high

Cat.No.

Description

Characteristics

80406

micro–Insert4Wellinµ–Dish   35mm,high ibiTreat: readytouse,tissue    hydrophilic,sterilized

culturetreated

µ–Dish35mm,highGlassBottom

Cat.No.

Description

Characteristics

81158

µ–Dish 35mm,high Glass Bottom:  35mm, high wall (2ml volume),

#1.5H(170±5µm)D263MSchottglass

sterilized

µ–Dish35mm,highESS

Cat.No.

Description

Characteristics

81291

µ–Dish35mm,highESS1.5kPaUncoated:35mm,highwall(2mlvol-        hydrophobic,sterilized

ume),elasticsurfacewithastiffnessof1.5kPa

81391

81191

µ–Dish 35mm,highESS15kPaUncoated:  35mm,highwall(2mlvol-     hydrophobic,sterilized

µ–Dish 35mm,highESS28kPaUncoated:  35mm,highwall(2mlvol-     hydrophobic,sterilized

ume),elasticsurfacewithastiffnessof28kPa

ume),elasticsurfacewithastiffnessof15kPa

µ–Dish35mm,high

Page4

Version2015-05-12