Instructions

µ–Dish 35mm,highESS

The ibidi product family is comprised of a variety of µ–Slides and µ–Dishes, which have all been

designedforhigh–endmicroscopicanalysisofﬁxedorlivingcells.      Thehighopticalqualityofthe

material is similar to that of glass, so you can perform all kinds of ﬂuorescence experiments with

uncompromisedresolutionandchoiceofwavelength.

Theµ–Dish 35mm,highallowsyoutoperformhighresolutionmicroscopyina35mmPetri–dishwith

12mmwalls.Thestandardheightallowsconvenientliquidhandling.Thelidcanbeclosedtohinder

evaporationduringlongtermexperiments.

Theibidiµ–Dish  35mm,high ESSisaproductforgrowingcellsonainvivo–nearelasticsurface.        ESS

standsforelasticallysupportedsurface.   Thesurfaceelasticity(YoungModule)is1.5kPa,15kPa,or

28kPa.

Material

ShippingandStorage

The µ–Dish ESS provides a special elastic surface for  in

vivolikecellcultivation.Ona100µmthinglasscoverslip,

a40µmhighly-elasticmaterial(polydimethylsiloxane)is

coated. Thewholebottomprovidesathicknessof140µm

andaveryhighopticalquality.

The µ–Slides, µ–Dishes and µ–Plates are sterilized and

weldedinagas-permeablepackaging.Theshelflifeunder

proper storage conditions (in a dry place, no direct sun-

light)islistedinthefollowingtable.

Conditions

Shippingconditions

Storageconditions

Ambient

RT(15-25°C)

ShelfLifeofDifferentSurfaces

ibiTreat,GlassBottom,ESS

36months

18months

4months

Collagen,Poly-Lysine

Fibronectin

Geometry

Geometryoftheµ–Dish35mm,highESS

Surfaceandcoating

Diameterdish

35mm

Volume

2000µl

3.5cm2

Theuncoatedµ–Dish35mm,  high ESSmustbecoatedtopro-

motecelladhesion.Pleasefollowthesestepsorsee

on

Growtharea

Diametergrowtharea

Coatingareausing800µl

Heightwith/withoutlid

Bottommatchescoverslip

21mm

4.2cm2

• Prepareyourcoatingsolutionaccordingtotheman-

ufacturer’s speciﬁcations or reference. Adjust the

concentrationtoacoatingareaof4.2cm2and800µl.

14mm/12mm

No.1(140µm)

• Apply800µlintothegrowtharea.    Makesurethat

theentirebottomiscoveredwithliquideasilytilting

orshakingtheµ–Dish.   Putonthelidandleaveat

roomtemperatureforatleast60minutes.

Attention!

Be cautious when handling µ–Slides and µ–Dishes

with glass bottom! The glass coverslip is very frag-

ileandmightbreakeasily.  Handlewithcaretoavoid

physicalinjuryanddamagetodevicesthroughleak-

ageofthemedium.

• Aspiratethesolutionandwash.  Useassoonaspos-

sible. TheESSsurfacemustnotbedriedaftercoat-

ing.

µ–Dish35mm,highESS

Page1

Version2015-05-11

Instructions

µ–Dish 35mm,highESS

UsingTheLid

Preparationforcellmicroscopy

Using ESS it is possible to combine microscopy with a

close to nature environment. To analyze your cells no

specialpreparationsarenecessary.  Cellscanbeobserved

liveorﬁxeddirectlyintheµ–Dishonaninvertedmicro-

scope. For ESS µ–Dishes we recommend paraformalde-

hydeﬁxation.Duetothethinbottomof140µm,high-end

microscopy(confocaltechniques,highresolutionﬂuores-

cence,etc.)ispossible.

1. openposition,easyopening

2. closeposition,forlongtermstudies,minimalevap-

oration

MinimizingEvaporation

SeedingCells

Usingtheµ–Dishwithaclosedlid,theevaporationinan

incubatorsystemwith37°Cand95%humidityisaround

1%perday.  Usingtheµ–Dishwithaclosedlidina37°C

heating system with low humidity (between 20% and

40%),theevaporationisaround10%perday.     Forreduc-

ingtheevaporationdownto1%perdayinallsystems,we

recommend sealing the lid with ibidi Anti–Evaporation

Oil(50051).

Depending on your cell type, application of a 4–9 ×

104cells/mlsuspensionshouldresultinaconﬂuentlayer

within2–3days.

• Trypsinizeandcountcellsasusual.    Dilutethecell

suspensiontothedesiredconcentration.

• Apply400µlcellsuspensionintotheinnerwellof

theµ–Dish.Avoidshakingasthiswillresultininho-

mogeneousdistributionofthecells.

• Aftercellattachmentaddadditionally1.6mlofpure

mediumtoensureoptimalgrowconditions.

ImmersionOil

• Covertheµ–Dishwiththesuppliedlid.   Incubateat

37°Cand5%CO2asusual.

When using oil immersion objectives, use only the im-

mersion oils speciﬁed in the table. The use of a non–

recommendedoilcouldleadtothedamageoftheplastic

materialandtheobjective.

Werecommendnottoﬁllmorethantheindicatedtotal

volumeintotheµ–Dish   35mm,high ESSinordertoavoid

theliquidcontactingthelid.

Company

Product

OrderingNumber

Undemandingcellscanbeleftintheirseedingmediumfor

severaldaysandgrowtoconﬂuencethere.However,best

resultsareachievedwhenthemediumischangedevery

2–3days. Carefullyaspiratetheoldmediumandreplace

itbyupto2mlfreshmedium.

Zeiss

Zeiss

Leica

Immersol518F

ImmersolW2010

Immersionliquid

(Zeiss)444960

(Zeiss)444969

(Leica)11513859

µ–Dish35mm,highESS

Page2

Version2015-05-11

Instructions

µ–Dish 35mm,highESS

ESSfamily

TheESSsurfaceisavailablewithdifferentsurfaceelasticitiesintheµ–Dish35mm,high.

µ–Dish35mm,highESS

Cat.No.

Description

Characteristics

81291

µ–Dish 35mm,high ESS 1.5kPa Uncoated:  35mm, high wall hydrophobic,sterilized

(2mlvolume),elasticsurfacewithastiffnessof1.5kPa

81391

81191

81199

µ–Dish 35mm,high ESS 15kPa Uncoated:  35mm, high wall hydrophobic,sterilized

(2mlvolume),elasticsurfacewithastiffnessof15kPa

µ–Dish 35mm,high ESS 28kPa Uncoated:  35mm, high wall hydrophobic,sterilized

(2mlvolume),elasticsurfacewithastiffnessof28kPa

µ–Dish 35mm,high ESS Variety Pack Uncoated:  35mm, high  hydrophobic,sterilized

wall(2mlvolume),elasticsurfacewithastiffnessof1.5,15,and

28kPa

µ–Dish35mm,highESS

Page3

Version2015-05-11

Instructions

µ–Dish 35mm,highESS

Forresearchuseonly!

FurthertechnicalspeciﬁcationscanbefoundatForquestionsandsuggestionspleasecontactusbye-mailinfo@ibidi.de

orbytelephone+49(0)89/52046170.AllproductsaredevelopedandproducedinGermany.

©ibidiGmbH,AmKlopferspitz19,82152Martinsried,Germany.

µ–Dish35mm,highESS

Page4

Version2015-05-11