Instructions

Culture–Insert3Well

TheibidiCulture–Insertfamilyismainlydevelopedforwoundhealingassays.      Aspecialstickyandbio-

compatiblesurfaceatthebottomsideworkslikeaglueandavoidsleaking.Acellsuspensioncanbeplaced

inthewellsallowingtogrowcellsinthedesignatedareasonly.      AftercellattachmenttheCulture–Insert

canberemovedbyusingsteriletweezers.Therearenoremainsonthesurface.Theattachedcellsgrowon

thedesignatedareas.TheCulture–Insertscanbeplacedoneveryﬂat,clean,anddrysurface.

TheCulture–Insert3Wellconsistsofthreewells,placedsidebysideandseparatedbyawallof500µm.          Whenthewells

areﬁlledwithadherentcells,acell–freegapofapprox.     500µmiscreatedbetweentheadjacentwellsafterremovingthe

Culture–Insert3Well.  TheCulture–Insert3Wellisalsointendedforco-cultivationandmigrationstudies.       Severalother

applicationsarepossible.

Material

proper storage conditions (in a dry place, no direct sun-

light)islistedinthefollowingtable.

TheibidiCulture–Insertsaremanufacturedfrombiocom-

patiblesiliconematerial.  Although, thematerialisauto-

clavableandcompatibletoalcoholswedonotrecommend

reusingit.

Conditions

Shippingconditions

Storageconditions

Ambient

RT(15-25°C)

Pleasenote! Whenusingaibidiµ–Dish,µ–Slideorµ–

PlatetakecarethattheibidiPolymerCoverslipiscom-

patiblewithcertaintypesofimmersionoilonly.     Alist

ofsuitableoilscanbefoundonpage2.

ShelfLifeofDifferentSurfaces

ibiTreat,GlassBottom,ESS

36months

18months

Collagen,Poly-L-Lysine

Geometry

SurfacesandCoatings

TheCulture–Insert3Wellconsistsofthreechamberswith

thefollowingdimensions:

We recommend using the Culture–Insert 3 Well on non-

coated (tissue culture treated) surfaces to ensure repro-

ducibilityofcellbehavior.

DimensionsoftheCulture–Insert3Well

Please test the compatibility with your speciﬁc protein

coatingwithafreesampleavailableon

Numberofwells

3

Outerdimensions

(w×l×h)

Growthareaperwell

Coatingareaperwell

Volumeperwell

8.4mm×12.15mm×5mm

The Culture–Insert 3 Well can be transferred to any ﬂat,

clean, and dry surface. Use sterile tweezers for transfer

andgentlypushwithaﬁngertip(wearglovesandsteril-

izewithethanol). Keepinmindthatonlythebottomside

issticky. Turnaroundandmakesurethebottomissealed

appropriately.Pushgentlyifnecessary.

0.22cm2

0.82cm2

70µl

Widthofcell–freegap    500µm±50µm

TheCulture–Insert3Wellisnotworkingonwetormoist

surfaces. Itmightalsonotworkonunevenordustysub-

strates.

WerecommendusingtheCulture–Insert3Wellinibidiµ–

Dishes, orµ–Slide2Well.  TheCulture–Insert3Wellwill

also ﬁt in standard 6Well plates, 12Well plates or petri

dishes. Itisalsopossibletousethemonsterileglasscov-

erslipsorglassslides.

SeedingCells

For performing a wound healing assay with the ibidi

Culture–Insert 3 Well follow the indicated steps. More

detailed information is provided in

and

ShippingandStorage

The µ–Slides, µ–Dishes and µ–Plates are sterilized and

weldedinagas-permeablepackaging.Theshelflifeunder

Culture–Insert3Well

Page1

Version1.0(2016-04-05)

Instructions

Culture–Insert3Well

Wound healing assays using the ibidi Culture–Insert 3

Wellarenot100%comparabletothecommonscratchas-

saytechnique.Sincethecell-freegapiscreatedinanother

wayandthesurfaceisdifferenttheremightbedifferences

toformerexperimentaldata.

• Prepareyourcellsuspensionasusual.    Itisrecom-

mendedtoincludeacentrifugationsteptoremove

deadcellsandcelldebris.   Dependingonyourcell

type,applicationofa3−7×105cells/mlshouldre-

sultinaconﬂuentlayerwithin24hours.

• Apply70µlintoeachwell.Avoidshakingasthiswill

resultininhomogeneouscelldistribution.

Tip:

• Incubateat37°Cand5%CO2asusual.

Incasethecelllayeris(partially)detachedwhenre-

movingtheCulture–Insert3Well,useasmallerseed-

ingdensitytocreatealessconﬂuentcelllayerorde-

creaseincubationtime.

• Optionally,itispossibletoﬁlltheouterareawithcell

suspensionorcellculturemedium.   Usetherecom-

mendedvolumeofthedishminus300µl.

• Afterappropriatecellattachment(24hours)gently

remove the Culture–Insert 3 Well by using sterile

tweezers.GrabacorneroftheCulture–Insert3Well.

ImmersionOil

When using oil immersion objectives, use only the im-

mersion oils speciﬁed in the table. The use of a non–

recommendedoilcouldleadtothedamageoftheplastic

materialandtheobjective.

• Filltheusedwellordishwithcellfreemedium.Use

therecommendedvolume(e.g.  forµ–Dish35mm,high

use2ml).

Company

Product

OrderingNumber

• Ifnecessary,awashingstepcanhelpremovingnon–

adherentcellsorcelldebris.

Zeiss

Zeiss

Leica

Immersol518F

ImmersolW2010

Immersionliquid

(Zeiss)444960

(Zeiss)444969

(Leica)11513859

• Conductyourexperiment.

Culture–Insert3Well

Page2

Version1.0(2016-04-05)

Instructions

Culture–Insert3Well

OrderingInformation

TheCulture–Insertisavailablewithdifferentnumbersofwellsandinvariousproductversions.

Culture–Insertinµ–Dish35mm,low

Cat.No.

Description

80206

Culture–Insert2Wellinµ–Dish35mm,low,ibiTreat:readytouse,tissueculturetreated,ster-

ilized

Culture–Insertinµ–Dish35mm,high

Cat.No.

Description

81176

Culture–Insert 2 Well in µ–Dish35mm,high, ibiTreat: ready to use, tissue culture treated,

sterilized

80366

80466

Culture–Insert 3 Well in µ–Dish35mm,high, ibiTreat: ready to use, tissue culture treated,

sterilized

Culture–Insert 4 Well in µ–Dish35mm,high, ibiTreat: ready to use, tissue culture treated,

sterilized

25Culture–Insertsforself–insertion

Cat.No.

Description

80209

80369

80469

25Culture–Inserts2Wellforselfinsertion:ina10cmtransportdish,sterilized

25Culture–Inserts3Wellforselfinsertion:ina10cmtransportdish,sterilized

25Culture–Inserts4Wellforselfinsertion:ina10cmtransportdish,sterilized

Culture–Insert24

Cat.No.

Description

80241

Culture–Insert2Well24,ibiTreat:aµ–Plate24Wellwith24readytouseCulture–Inserts2

Well,tissueculturetreated,sterilized

Culture–Insert3Well

Page3

Version1.0(2016-04-05)

Instructions

Culture–Insert3Well

Forresearchuseonly!

FurthertechnicalspeciﬁcationscanbefoundatForquestionsandsuggestionspleasecontactusbye-mailinfo@ibidi.de

orbytelephone+49(0)89/52046170.AllproductsaredevelopedandproducedinGermany.

©ibidiGmbH,AmKlopferspitz19,82152Martinsried,Germany.

Culture–Insert3Well

Page4

Version1.0(2016-04-05)