Instructions

µ–Dish35mm,highGlassBottom

The ibidi product family is comprised of a variety of µ–Slides and µ–Dishes, which have all been

designedforhigh–endmicroscopicanalysisofﬁxedorlivingcells.

Theglassbottomversionsoftheµ–Slidesandµ–DishesareespeciallydesignedforTIRFandsingle

molecule applications. The µ–Dish35mm,high Glass Bottom allows you to perform high resolution

microscopyina35mmPetri–dishwith12mmwalls.     Thestandardheightallowsconvenientliquid

handling.Thelidcanbeclosedtohinderevaporationduringlongtermexperiments.

Material

SurfaceandCoating

Theµ–Dish35mm,high  GlassBottomismadeofastandard

µ–Dish35mm,high butwithaglasscoverslipbottom.    Itis

notpossibletodetachthebottom.    Theµ–Dishesarenot

autoclavablesincetheyaretemperaturestableonlyupto

80°C/175°F.

Theµ–Dish35mm,high  GlassBottomismanufacturedwith

anuncoatedglasscoverslip.Washingsteps(e.g.withPBS)

beforecellseedingcanremoveglassdustwhichisadvan-

tageousfordirectcellgrowthonthesurface.

Protein coatings increase direct cell growth of adherent

cells.Speciﬁccoatingsonglassarepossiblefollowingthis

protocol:

OpticalPropertiesibidiGlassBottom

RefractiveindexnD

Abbenumber

1.523

55

• Prepareyourcoatingsolutionaccordingtotheman-

ufacturer’sspeciﬁcationsorreference.  Prepareyour

µ–Dish.Adjusttheconcentrationtoacoatingareaof

Thickness

No.1.5H(selectedquality

170µm,±5µm)

4.2cm

2and400µl.

Material

Schottborosilicateglass,

D263M

• Apply400µlintothegrowtharea.    Makesurethat

theentirebottomiscoveredwithliquideasilytilting

orshakingtheµ–Dish.   Putonthelidandleaveat

roomtemperatureforatleast30minutes.

Attention!

• Aspiratethesolutionandwash.   Optionally,letdry

atroomtemperature.

Be cautious when handling µ–Slides and µ–Dishes

with glass bottom! The glass coverslip is very frag-

ileandmightbreakeasily.  Handlewithcaretoavoid

physicalinjuryanddamagetodevicesthroughleak-

ageofthemedium.

DetailedinformationaboutcoatingsisprovidedinAppli-

cationNote08

ShippingandStorage

The µ–Slides, µ–Dishes and µ–Plates are sterilized and

weldedinagas-permeablepackaging.Theshelflifeunder

proper storage conditions (in a dry place, no direct sun-

light)islistedinthefollowingtable.

Geometry

Geometryoftheµ–Dish35mm,highGlassBottom

Conditions

Diameterdish

35mm

Volume

2000µl

3.5cm2

Shippingconditions

Storageconditions

Ambient

Growtharea

RT(15-25°C)

Diametergrowtharea

Coatingareausing400µl

Heightwith/withoutlid

Bottom

21mm

4.2cm2

ShelfLifeofDifferentSurfaces

ibiTreat,GlassBottom,ESS

36months

18months

4months

14mm/12mm

Collagen,Poly-Lysine

Fibronectin

Glass

1.5H

coverslip

No.

µ–Dish35mm,highGlassBottom

Page1

Version2015-05-12

Instructions

µ–Dish35mm,highGlassBottom

UsingTheLid

PreparationforCellMicroscopy

Toanalyzeyourcellsnospecialpreparationsarenecessary.

Cellscanbeobservedliveorﬁxeddirectlyintheµ–Dish

preferably on an inverted microscope. You can use any

ﬁxativeofyourchoice.Theµ–Dishmaterialiscompatible

withavarietyofchemicals,e.g.AcetoneorMethanol.Fur-

therspeciﬁcationscanbefoundatDueto

thethinbottomhighresolutionmicroscopyispossible.

1. openposition,easyopening

2. closeposition,forlongtermstudies,minimalevap-

oration

For optimal results in ﬂuorescence microscopy and stor-

ageofstainedprobes,ibidiprovidesamountingmedium

optimized for µ–Dishes and µ–Slides (ibidi Mounting

Medium,50001).

SeedingCells

Depending on your cell type, application of a 4–9 ×

104cells/mlsuspensionshouldresultinaconﬂuentlayer

MinimizingEvaporation

within2–3days.

Usingtheµ–Dishwithaclosedlid,theevaporationinan

incubatorsystemwith37°Cand95%humidityisaround

1%perday.  Usingtheµ–Dishwithaclosedlidina37°C

heating system with low humidity (between 20% and

40%),theevaporationisaround10%perday.     Forreduc-

ingtheevaporationdownto1%perdayinallsystems,we

recommend sealing the lid with ibidi Anti–Evaporation

Oil(50051).

• Trypsinizeandcountcellsasusual.    Dilutethecell

suspensiontothedesiredconcentration.

• Apply400µlcellsuspensionintotheinnerwellof

theµ–Dish.Avoidshakingasthiswillresultininho-

mogeneousdistributionofthecells.

• Aftercellattachmentaddadditionally1.6mlofpure

mediumtoensureoptimalgrowconditions.

• Covertheµ–Dishwiththesuppliedlid.   Incubateat

37°Cand5%CO2asusual.

ImmersionOil

Werecommendnottoﬁllmorethantheindicatedtotal

volumeintotheµ–Dish35mm,highGlassBottominorder

toavoidtheliquidcontactingthelid.

When using oil immersion objectives, use only the im-

mersion oils speciﬁed in the table. The use of a non–

recommendedoilcouldleadtothedamageoftheplastic

materialandtheobjective.

Undemandingcellscanbeleftintheirseedingmediumfor

severaldaysandgrowtoconﬂuencethere.However,best

resultsareachievedwhenthemediumischangedevery

2–3days. Carefullyaspiratetheoldmediumandreplace

itbyupto2mlfreshmedium.

Company

Product

OrderingNumber

Zeiss

Zeiss

Leica

Immersol518F

ImmersolW2010

Immersionliquid

(Zeiss)444960

(Zeiss)444969

(Leica)11513859

Tip:

Youcanstacktheµ–Dishestosavespaceinyourincu-

bator.Thiswillnotaffectcellgrowth.Werecommend

making batches with up to 6 µ–Dishes, due to sta-

bilityreasons. Placingtheµ–DishesintolargerPetri

dishessimpliﬁestransportandpreventsevaporation,

heat loss, and contamination when the incubator is

opened.

µ–Dish35mm,highGlassBottom

Page2

Version2015-05-12

Instructions

µ–Dish35mm,highGlassBottom

µ–Dish 35mm,high

Family

µ–Dish35mm,high

Cat.No.

Description

Characteristics

81156

81151

µ–Dish35mm,highibiTreat:35mm,highwall(2mlvolume),#1.5poly-       hydrophilic,sterilized

µ–Dish 35mm,high Uncoated:  35mm, high wall (2ml volume), #1.5  hydrophobic,sterilized

polymercoverslip

mercoverslip,tissueculturetreated

µ–Dish35mm,highGrid–500

Cat.No.

Description

Characteristics

81166

µ–Dish 35mm,high ibiTreat Grid-500:  35mm, high wall (2ml vol-  hydrophilic,sterilized

ume),#1.5polymercoverslip,tissueculturetreated,gridrepeatdistance

500µm

81161

µ–Dish 35mm,high Uncoated Grid-500:  35mm, high wall (2ml vol-  hydrophobic,sterilized

ume),#1.5polymercoverslip,gridrepeatdistance500µm

Culture–Insertinµ–Dish35mm,high

Cat.No.

Description

Characteristics

81176

Culture–Insertinµ–Dish  35mm,high ibiTreat: readytouse,  tissuecul-  hydrophilic,sterilized

turetreated

micro–Insert4Wellinµ–Dish35mm,high

Cat.No.

Description

Characteristics

80406

micro–Insert4Wellinµ–Dish   35mm,high ibiTreat: readytouse,tissue    hydrophilic,sterilized

culturetreated

µ–Dish35mm,highGlassBottom

Cat.No.

Description

Characteristics

81158

µ–Dish 35mm,high Glass Bottom:  35mm, high wall (2ml volume),

#1.5H(170±5µm)D263MSchottglass

sterilized

µ–Dish35mm,highESS

Cat.No.

Description

Characteristics

81291

µ–Dish35mm,highESS1.5kPaUncoated:35mm,highwall(2mlvol-        hydrophobic,sterilized

ume),elasticsurfacewithastiffnessof1.5kPa

81391

81191

µ–Dish 35mm,highESS15kPaUncoated:  35mm,highwall(2mlvol-     hydrophobic,sterilized

µ–Dish 35mm,highESS28kPaUncoated:  35mm,highwall(2mlvol-     hydrophobic,sterilized

ume),elasticsurfacewithastiffnessof28kPa

ume),elasticsurfacewithastiffnessof15kPa

µ–Dish35mm,highGlassBottom

Page3

Version2015-05-12

Instructions

µ–Dish35mm,highGlassBottom

Forresearchuseonly!

FurthertechnicalspeciﬁcationscanbefoundatForquestionsandsuggestionspleasecontactusbye-mailinfo@ibidi.de

orbytelephone+49(0)89/52046170.AllproductsaredevelopedandproducedinGermany.

©ibidiGmbH,AmKlopferspitz19,82152Martinsried,Germany.

µ–Dish35mm,highGlassBottom

Page4

Version2015-05-12