Instructions

µ–Slide8Well

Theibidiproductfamilyiscomprisedofavarietyofµ–Slidesandµ–Dishes,whichhaveallbeen

designedforhigh–endmicroscopicanalysisofﬁxedorlivingcells.      Thehighopticalqualityof

thematerialissimilartothatofglass,soyoucanperformallkindsofﬂuorescenceexperiments

withuncompromisedresolutionandchoiceofwavelength.    Theµ–Slide8Wellisanarrayof8

squareﬁeldswherecellscanbecultivatedand,     subsequently, investigatedwithmicroscopical

methods. Itisintendedfortheoptimizationofexperimentalparameterslikeantibodydilution,

seedingdensity,orthemosteffectivedrugconcentration.

Material

ShippingandStorage

ibidiµ–Slides,µ–Dishes,andµ–Platesaremadeofaplas-

tic that has the highest optical quality. The bottom ma-

terial exhibits extremely low birefringence and autoﬂuo-

rescence, similar to that of glass. Also, it is not possible

todetachthebottomfromtheupperpart.     Theµ–Slides,

µ–Dishes, and µ–Plates are not autoclavable, since they

areonlytemperature–stableupto80°C/175°F.Pleasenote

that gas exchange between the medium and incubator’s

atmosphere occurs partially through the polymer cover-

slip,whichshouldnotbecovered.

The µ–Slides, µ–Dishes and µ–Plates are sterilized and

weldedinagas-permeablepackaging.Theshelflifeunder

proper storage conditions (in a dry place, no direct sun-

light)islistedinthefollowingtable.

Conditions

Shippingconditions

Storageconditions

Ambient

RT(15-25°C)

OpticalPropertiesibidiStandardBottom

ShelfLifeofDifferentSurfaces

RefractiveindexnD(589nm)

Abbenumber

1.52

56

ibiTreat,GlassBottom,ESS

36months

18months

4months

Thickness

No.1.5(180µm)

Collagen,Poly-Lysine

Fibronectin

Material

microscopyplastic/

polymercoverslip

Please note! The ibidi Standard Bottom is compatible

withcertaintypesofimmersionoilonly.    Alistofsuit-

ableoilscanbefoundonpage2.

µ–SlideSurfaces

Dependingonthetypeofcellsandthespecialapplication

youareusing,youwillneedµ–Slideswithdifferentsur-

faces.Ifyoudonotrequireanyspecialadhesionmolecules

foryourapplication,thebestchoicewillbeibiTreat,atis-

sueculturetreatedsurface.

Geometry

Theµ–Slide8wellprovidesstandardslideformataccord-

ingtoISO8037/1.

Geometryofµ–Slide8Well

Weprovideprecoatedµ–Slideswithadhesionsubstrates

likeCollagenIV,Fibronectin,Poly–L–Lysin,andPoly–D–

Lysin.Suchadhesionsubstrateshavebeenshowntostim-

ulatetheadhesionandgrowthofvariouscelllinesinµ–

Slides.Onlyhigh–qualitysubstratesareused

1.

Numberofwells

8

Dimensionsofwells(w×l×h)inmm     9.4×10.7×6.8

Growthareaperwell

Coatingareaperwell

1.0cm2

2.2cm2

Theuncoatedµ–Slideismanufacturedfromhydrophobic

plastic. For the cultivation of most cell lines, it is indis-

pensabletotreattheuncoatedµ–Slidewithbiopolymers,

whichmediatecelladhesionandgrowth.

Recommendedﬁllingvolumeperwell   300µl

Totalheightwithlid

8mm

Bottommatchescoverslip

No.1.5

1CollagenIV:Corning#356233,Fibronectin:Corning#354008,Poly–L–Lysin:Sigma#P4832,Poly–D–Lysin:Corning#354210

µ–Slide8Well

Page1

Version2015-07-23

Instructions

µ–Slide8Well

Coatingyourµ–Slide8Well

is changed every 1–2 days. Carefully aspirate the old

mediumandreplaceitby300µl/wellfreshmedium.

Theuncoatedµ–Slidemustbecoatedtopromotecellad-

hesion.Ifyouwanttoestablishacertaincoatingtomatch

your needs, we recommend testing your coating proce-

dure on both uncoated and ibiTreat µ–Slides, since we

haveobservedthatsomebiomoleculesadheredifferently

tohydrophobicandhydrophilicplasticsurfaces.

Tip:

Asyoumayknowfrom96wellplates,thebentmenis-

cus at the air–liquid interphase in small open wells

destroysthephasecontrasteffectofyourmicroscope

image. Toavoidthisproblem,werecommendusing

ourchannelSlidessuchastheµ–SlidesILuerandµ–

SlideVI0.4oraPh+Slide.

• Prepareyourcoatingsolutionaccordingtotheman-

ufacturer’sspeciﬁcationsorreference.

• Apply300µlperwellandleaveatroomtemperature

foratleast30minutes.

• Aspirate the solution and wash with the recom-

mendedproteindilutionbuffer.

PreparationforCellMicroscopy

• Optionallyletdryatroomtemperature.    Attention,

somecoatingproteinsmightdegeneratewhendry-

ing!

To analyze your cells, no special preparations are neces-

sary.Cellscanbeobservedlive,orﬁxeddirectlyintheµ–

Slideonaninvertedmicroscope.  Youcanuseanyﬁxative

of your choice. The µ–Slide material is compatible with

avarietyofchemicals,e.g.,acetoneormethanol.    Further

speciﬁcationscanbefoundatDuetothe

thinbottomofonly180µm,highresolutionmicroscopyis

possible.

DetailedinformationaboutcoatingsisprovidedinAppli-

cationNote08

Seedingcells

• Trypsinizeandcountcellsasusual.    Dilutethecell

suspensiontothedesiredconcentration.Depending

onyourcelltype,applicationofa5-11×104cells/ml

ImmersionOil

suspensionshouldresultinaconﬂuentlayerwithin

2–3days.

When using oil immersion objectives, use only the im-

mersion oils speciﬁed in the table. The use of a non–

recommendedoilcouldleadtothedamageoftheplastic

materialandtheobjective.

• Apply300µlcellsuspensionintoeachwelloftheµ–

Slide.Avoidshakingasthiswillresultininhomoge-

neousdistributionofthecells.

Company

Product

OrderingNumber

• Cover the slide with the supplied lid. Incubate at

37°Cand5%CO2asusual.

Zeiss

Zeiss

Leica

Immersol518F

ImmersolW2010

Immersionliquid

(Zeiss)444960

(Zeiss)444969

(Leica)11513859

Undemanding cells can be left in their seeding medium

foruptothreedaysandgrowtoconﬂuencethere.     How-

ever, best results might be achieved when the medium

µ–Slide8Well

Page2

Version2015-07-23

Instructions

µ–Slide8Well

OrderingInformation

Theµ–Slide8WellfamilycomprisesSlideswithdifferentsurfacesandbottomcharacteristics.Seetablebelowforchoosing

yourµ–Slide8Well.

µ–Slide8Well

Cat.No.

Description

80826

80822

80823

80824

80825

80821

µ–Slide8WellibiTreat:#1.5polymercoverslip,tissueculturetreated,sterilized

µ–Slide8WellCollagenIV:#1.5polymercoverslip,sterilized

µ–Slide8WellFibronectin:#1.5polymercoverslip,sterilized∗

µ–Slide8WellPoly-L-Lysine:#1.5polymercoverslip,sterilized

µ–Slide8WellPoly-D-Lysine:#1.5polymercoverslip,sterilized∗

µ–Slide8WellUncoated:#1.5polymercoverslip,hydrophobic,sterilized

∗availableonrequestonly

µ–Slide8WellGlassBottom

Cat.No.

Description

80827

µ–Slide8WellGlassBottom:1.5H(170µm±5µm)D263MSchottglass,sterilized

µ–Slide8WellGrid–500

Cat.No.

Description

80826-G500

µ–Slide 8 Well ibiTreat Grid–500: #1.5 polymer coverslip, tissue culture treated,

gridrepeatdistance500µm,sterilized

80821-G500

µ–Slide8WellUncoatedGrid–500:   #1.5polymercoverslip,hydrophobic,gridre-

peatdistance500µm,sterilized

µ–Slide8Well

Page3

Version2015-07-23

Instructions

µ–Slide8Well

SelectedReferences

D. J. Anderson, J. D. Vargas, J. P. Hsiao, and M. W. Hetzer. Recruitment of functionally distinct membrane proteins to

chromatinmediatesnuclearenvelopeformationinvivo.J.CellBiol.,2009.doi:10.1083/jcb.200901106.

N.Deigendesch,F.Koch-Nolte,andS.Rothenburg.    ZBP1subcellularlocalizationandassociationwithstressgranulesis

controlledbyitsZ-DNAbindingdomains.NucleicAcidsRes.,2006.doi:10.1093/nar/gkl575.

K. R. Duffy, C. J. Wellard, J. F. Markham, J. H. S. Zhou, R. Holmberg, E. D. Hawkins, J. Hasbold, M. R. Dowling, and

P.D.Hodgkin.  Activation-InducedBCellFatesAreSelectedbyIntracellularStochasticCompetition.    Science,2012. doi:

10.1126/science.1213230.

J.R.A.Hutchins,Y.Toyoda,B.Hegemann,I.Poser,J.K.Heriche,M.M.Sykora,M.Augsburg,O.Hudecz,B.A.Buschhorn,

andJ.Bulkescher. Systematicanalysisofhumanproteincomplexesidentiﬁeschromosomesegregationproteins.     Science,

2010.doi:10.1126/science.1181348.

J.Lazar,A.Bondar,S.Timr,andS.J.Firestein.Two-PhotonPolarizationMicroscopyRevealsProteinStructureandFunction.

NatureMethods,2011.doi:10.1038/nmeth.1643.

Forresearchuseonly!

FurthertechnicalspeciﬁcationscanbefoundatForquestionsandsuggestionspleasecontactusbye-mailinfo@ibidi.de

orbytelephone+49(0)89/52046170.AllproductsaredevelopedandproducedinGermany.

©ibidiGmbH,AmKlopferspitz19,82152Martinsried,Germany.

µ–Slide8Well

Page4

Version2015-07-23